INSULATING ELECTRICAL PROTECTIVE EQUIPMENT AVAILABLE FROM LEADING MANUFACTURER SALISBURY BY HONEYWELL

<http://www.salisburybyhoneywell.com/en-US/industrial/shockprotection/Case%20Studies/personal_electrical_shock.pdf>

**Local Sales Vendor:** Special Fleet, 2500 South Main Street, Harrisonburg, VA  22802 (800-796-9027)

**(1) GLOVES -** Class 00 Electrical Low Voltage Gloves with Leather Protectors and a storage bag - (voltage 500 AC; 750 DC).

 

**(2) APRON – [**Type II rubber maximum voltage up to 500 volts. Designed for applications where there is risk of energized electrical contact].

**\*Dielectric Testing required for Gloves and Apron every (6) months per OSHA 1910.137(b)(2)(viii).**

**(3) BLANKETS** Low voltage insulating blankestare made of Type II Salcor© and are available plain or with hook and pile (Velcro). These Blankets are rated for a maximum voltage of 1000 volts and makes it easier than ever to cover up energized equipment.

**(4) SWITCHBOARD MATS-** Provide an extra level of protection for workers in front of high voltage electrical apparatus.

**** 

**(4) Switchboard Mat**

**(3) Blanket**

**(Velcro)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **(3) BLANKET DESCRIPTION** | **Dimensions** | **Part Number** | **Cost -01/2013 Special Fleet Harrisonburg, VA** | **Dielectric Testing Requirements per****OSHA 1910.137(b)(2)(viii)** |
| Class 0 Insulation Blanket -PlainClass 0 Insulation Blanket Velcro | 18 “by 18”18 “by 18” | Salis 1818YLVNVSalis 1818YLV | $58.17$81.92 | Blankets every 12 months |
| Class 0 Insulation Blanket -PlainClass 0 Insulation Blanket Velcro | 18 “ by 36”18 “ by 36”**\*36” by 36” available** | Salis 1836YLVNVSalis 1836YLV | $49.75$79.37 | Blankets every 12 months |
| **(4) SWITCHBOARD MAT**  | **Dimensions** | **Part Number** |  |  |
| Class 2 (max. voltage 17,000 volts) | 24”wide by 36 “ long | SalisM24-2 | $61.47 | Recommended every 12 months |

**\*Special Fleet in Harrisonburg, VA provides dielectric testing services, refer to next page. They are an associate member of North American Independent Laboratory (NAIL) and soon to be NAIL accredited. Adequate equipment should be on hand for when equipment must be sent out for testing. Expect services to take 10-14 business days.**



**Maintain your electrical protective equipment in good working order.**

* Use your equipment correctly.
* Use proper storage practices.
* Perform routine inspections.
* Follow up on electrical testing as required by the equipment manufacturer.

**ELECTRICAL EQUIPMENT TESTING SERVICES**

**Special Fleet Service Contact:** jeanetta@specialfleet.com

**2500 South Main Street**

**Harrisonburg, VA  22802**

**(800-796-9027)**

Please provide your department, Cost Center and contact information (phone or cell) for Special Fleet Services and put it in the box with your rubber electrical protective equipment that needs testing. Also, include your shipping address, including Attention To, for return shipping.

|  |
| --- |
| **Glove, Blanket and Sticks Testing Prices Effective February 2013**  |
| **Item** | **Cost** | **Item** | **Cost** |
| Class 00-2 glove  | $6.50 pair | Blanket, Mats 18Xhose, cover, etc.  |  $6.00 each |
| Class 3-4 glove  | $7.50 pair | Hot stick (1 piece) up to 14 ft.  | $15.00 |
| Class 00-2 sleeve  | $7.00 pair | Hot stick over 14 ft. and (extendable) | $25.00 |
| Class 3-4 sleeve  | $8.00 pair | Jumper  | $9.50  |